	[image: image2.jpg]«AHalton




	Appendix 23
Valve Installation Checklist


	[image: image1.jpg]«AHalton




	Appendix 23
Valve Installation Checklist



	Project Name:
	Project Number:
	

	Contractor:
	Date:
	


	EQUIPMENT:
	DATE INSTALLATION COMPLETE:

	MAKE:
	MODEL #:
	SERIAL #:

	BODY
	CHECKED BY
(INITIAL)
	DATE
	REMARKS

	Manufacturer/Model #
	
	
	

	VALVE Identification
	
	
	

	Type/Body Size
	
	
	

	Port Size/End Connection
	
	
	

	Trim Form
	
	
	

	Packing/Stem Seal Adjustment
	
	
	

	Lubrication
	
	
	

	Exterior Finish
	
	
	

	ACTUATOR – Manufacturer/ Model # and Size
	
	
	

	Type
	
	
	

	Open At/Close At
	
	
	

	Fail Position
	
	
	

	Handwheel/Manual Override Position Indicator
	
	
	

	Open/Closed Position Stop Adjustment
	
	
	

	POSITIONER - Manufacturer/ Model #
	
	
	

	All Assess. Installed and Functioning Correctly (Filter/Regulator, Gauge, Bypass, etc.)
	
	
	

	
	
	
	

	Input Signal/Output Signal
	
	
	

	Calibration
	
	
	

	OTHER – Positioning Indicating Switch Adjustment
	
	
	

	Feedback Potentiometer Calibration
	
	
	

	Devices Requiring MCCR Canadian Reg# (Identify with #)
	
	
	

	Operation & Maintenance Manuals Received
	
	
	

	PERFORMANCE – 

Manufacturer’s Rep in Attendance
	
	
	

	Maximum Flow
	
	
	

	Value % Open @ Max Flow
	
	
	

	Inlet Pressure @ Max Flow
	
	
	

	Pressure Drop @ Max Flow
	
	
	

	Minimum Flow
	
	
	

	Valve % Open @ Min Flow
	
	
	

	Inlet Pressure @ Min Flow
	
	
	

	Pressure Drop @ Min Flow
	
	
	

	Relief Pressure (Safety Valves)
	
	
	

	Reseating Pressure (Safety Valves)
	
	
	

	Manufacturer’s Letter of Confirmation of Equipment Proper Installation Received
	
	
	

	*Indicates (N/A) if not applicable
	
	
	

	COMMENTS:


	Inspection Result
	Passed Installation and Start-up checkout. Equipment certified ready for service
	
	Failed – Contractor to schedule equipment re-inspection
	


	
	
	

	Contractor
	
	Supplier

	
	
	

	Date
	
	Date

	
	
	

	Consultant
	
	Region/Operator

	
	
	

	Date
	
	Date


	Regional Municipality of Halton
Consultants Procedure Manual - Facilities 
	166
	Version 1.0

November 2011


	Regional Municipality of Halton
Consultants Procedure Manual - Facilites 
	167
	Version 1.0

November 2011



[image: image1.jpg][image: image2.jpg]