	[image: image2.jpg]«AHalton




	Appendix 30
Panel / PLC Installation Checklist


	[image: image1.jpg]F Region o Peel
Working for qou




	Error! Reference source not found.



	Project Name:
	Project Number:
	

	Contractor:
	Date:
	


	EQUIPMENT:
	DATE INSTALLATION COMPLETE:

	MAKE:
	MODEL #:
	SERIAL #:

	PRE-START-UP
	CHECKED BY
(INITIAL)
	DATE
	REMARKS

	Installation and Mounting
	
	
	

	Location to Equip. (Electrical Interference)
	
	
	

	Wiring/Conduit Termination and Scales
	
	
	

	Tagging Nameplates
	
	
	

	Compliance Section 15
	
	
	

	Test (Ground Loop, Continuity, Installation)
	
	
	

	Check Fuse/Breaker Ratings
	
	
	

	Compliance Section 16
	
	
	

	Communications Test:

	Peer Link
	
	
	

	Remote 1/0
	
	
	

	PLC – PC
	
	
	

	Cable Integrity
	
	
	

	Termination Connectors
	
	
	

	Telephone/Link Modem
Rack/PLC Switch Settings
	
	
	

	Computer Installation
	
	
	

	Ancillary Equipment Installation
	
	
	

	* Indicates (N/A) if not applicable
	
	
	


	Inspection Result
	Passed Installation and Start-up checkout. Equipment certified ready for service
	
	Failed – Contractor to schedule equipment re-inspection
	


	
	
	

	Contractor
	
	Supplier

	
	
	

	Date
	
	Date

	
	
	

	Consultant
	
	Region/Operator

	
	
	

	Date
	
	Date


	Regional Municipality of Halton
Consultants Procedure Manual - Facilities 
	177
	Version 1.0
November 2011


	[image: image1.jpg]
	21
	April 2003



[image: image2.jpg][image: image3.wmf] 

