	[image: image2.jpg]«AHalton




	Appendix 25
Electrical Equipment Installation – Start Up Checklist


	[image: image1.jpg]«AHalton




	Appendix 24
Electrical Equipment Installation – Start Up Checklist



	Project Name:
	Project Number:
	

	Contractor:
	Date:
	


	Equipment

	Identification Tag No.

	Manufacturer

	Model

	Serial Number

	Rating hp/kw
	
	RPM
	

	Amps
	
	Supply Voltage
	

	Phase
	
	Wire
	

	Insulation Design
	
	Insulation Class
	

	Temperature Raise
	
	Enclosure Type
	

	Approvals
CSA, NEMA, etc.
	
	Date Received
	

	Others
	
	Date Started
	


	
	INSTALLATION
	A
	B
	C
	D

	1
	Foundation or Base
	
	
	
	

	2
	Mounting Bolts
	
	
	
	

	3
	Couplings, belts, chains
	
	
	
	

	4
	Shaft Alignment 
	
	
	
	

	5
	Gaskets
	
	
	
	

	6
	Motor Megger
	
	
	
	

	7
	Motor Rotation
	
	
	
	

	8
	Supply/Starter Fuse Size
	
	
	
	

	9
	Supply/Starter O/L Size
	
	
	
	

	10
	Interlock Checked
	
	
	
	

	11
	Grounding Installation
	
	
	
	

	12
	Cable or Conduit Installation
	
	
	
	


	
	START UP OF EQUIPMENT
	A
	B
	C
	D

	1
	General Condition
	
	
	
	

	2
	Bearing Temperature
	
	
	
	

	3
	Seals, Packing
	
	
	
	

	4
	Valves, Check valves
	
	
	
	

	5
	Connecting Rods
	
	
	
	

	6
	Couplings
	
	
	
	

	
	Safety Hazards
	
	
	
	

	7
	Lubrication
	
	
	
	

	8
	Seal Lubrication
	
	
	
	

	9
	Shafting, Universal
	
	
	
	

	10
	Clutch
	
	
	
	

	11
	Gear Drives
	
	
	
	

	12
	Control – Local Run
	
	
	
	

	13
	Control – Remote Run
	
	
	
	

	14
	Painting
	
	
	
	

	
	REMARKS


Legend:

(A) Inspected and found acceptable
(B) Inspected, found defective but corrected

(C) Inspected, found defective and not corrected
(D) Not inspected

	Inspection Result
	Passed Installation and Start-up checkout. Equipment certified ready for service
	
	Failed – Contractor to schedule equipment re-inspection
	


	
	
	

	Contractor
	
	Supplier

	
	
	

	Date
	
	Date

	
	
	

	Consultant
	
	Region/Operator

	
	
	

	Date
	
	Date


	Regional Municipality of Halton
Consultants Procedure Manual - Facilities 
	169
	Version 1.0

November 2011


	Regional Municipality of Halton
Consultants Procedure Manual - Facilities 
	170
	Version 1.0

November 2011



[image: image1.jpg][image: image2.jpg]