	[image: image2.jpg]«AHalton




	Appendix 26

Variable Speed Drives Installation – Start Up Checklist


	[image: image1.jpg]«AHalton




	Appendix 26

Variable Speed Drives Installation – Start Up Checklist



	Project Name:
	Project Number:
	

	Contractor:
	Date:
	


	EQUIPMENT:
	DATE INSTALLATION COMPLETE:

	MAKE:
	MODEL #:
	SERIAL #:

	PRE-START-UP
	CHECKED BY
(INITIAL)
	DATE
	REMARKS

	Wiring/Conduit Termination
	
	
	

	Tagging Nameplates
	
	
	

	Fuse/Overload Ratings Checked
	
	
	

	Drive Properly Grounded
	
	
	

	Signal and Input/Output Power Wiring Run in Separate Conduits
	
	
	

	Direction of Motor Rotation
	
	
	

	Input Voltage
	
	
	

	Speed Control Signal
	
	
	

	Output Voltage
	
	
	

	Horsepower Rating
	
	
	

	Max Speed Setting
	
	
	

	Min Speed Setting
	
	
	

	Acceleration Rate Setting
	
	
	

	Deceleration Rate Setting
	
	
	

	Operation and Maintenance Manuals Submitted
	
	
	

	Spare Parts Rec’d
	
	
	

	START-UP – 

(Manufacturer’s Rep. in Attendance)
	
	
	

	Performance per Spec/Data Sheet (Identify)
	
	
	

	Manual Start/Stop
	
	
	

	Auto Start/Stop
	
	
	

	Manual Speed Selection
	
	
	

	Auto Speed Selection
	
	
	

	Drive Run/Fault Indication
	
	
	

	Duration of Initial Run (min. 1 hour)
	
	
	

	Manufacturer’s Letter of Confirmation of Equipment Proper Installation Received
	
	

	*Indicates (N/A) if not applicable
	
	
	


	SPEED
	MOTOR VOLTAGE
	MOTOR CURRENT
	MOTOR FREQUENCY

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	Comments:


	Inspection Result
	Passed Installation and Start-up checkout. Equipment certified ready for service
	
	Failed – Contractor to schedule equipment re-inspection
	


	
	
	

	Contractor
	
	Supplier

	
	
	

	Date
	
	Date

	
	
	

	Consultant
	
	Region/Operator

	
	
	

	Date
	
	Date


	Regional Municipality of Halton
Consultants Procedure Manual - Facilities 
	171
	Version 1.0

November 2011


	Regional Municipality of Halton
Consultants Procedure Manual - Facilities 
	172
	Version 1.0

November 2011



[image: image1.jpg][image: image2.jpg]