	[image: image2.jpg]«AHalton




	Appendix 22
Mechanical Equipment Installation – Start Up Checklist


	[image: image1.jpg]«AHalton




	Appendix 22
Mechanical Equipment Installation – Start Up Checklist



	Project Name:
	Project Number:
	

	Contractor:
	Date:
	


	Equipment

	Manufacturer

	Model
	Serial Number

	Identification Tag No.
	Capacity

	Date Received
	
	Date started
	


	
	INSTALLATION
	A
	B
	C
	D

	1
	Foundation or base
	
	
	
	

	2
	Mounting bolts
	
	
	
	

	3
	Couplings, belts, chains
	
	
	
	

	4
	Shaft alignment 
	
	
	
	

	5
	Gaskets
	
	
	
	

	6
	Alignment/Level
	
	
	
	

	7
	Removal of Shipping Oil/Rust Preventative/Wrappings
	
	
	
	

	8
	Interior Connected Piping Free of Debris
	
	
	
	

	9
	Initial Lubrication
	
	
	
	

	10
	Equip. Safety Devices and Guards
	
	
	
	

	11
	Free Rotation of Shafts
	
	
	
	

	12
	Belt or Chain Drives, Couplings
	
	
	
	

	13
	All Equip. Access. Installed and Functioning Correctly (gauges/drains/pressure relief valves/seal water, etc.)
	
	
	
	

	14
	Devices Requiring MCCR Canadian Reg.# (Identify with #)
	
	
	
	

	15
	Operation and Maintenance Manuals Rec’d
	
	
	
	

	16
	Spare Parts Received
	
	
	
	

	
	Remark:




	
	START-UP OF EQUIPMENT
	A
	B
	C
	D

	1
	General Condition
	
	
	
	

	2
	Bearing Temperature
	
	
	
	

	3
	Seals, Packing
	
	
	
	

	4
	Valves, Check valves
	
	
	
	

	5
	Connecting Rods
	
	
	
	

	6
	Couplings
	
	
	
	

	7
	Flights, Scrapers
	
	
	
	

	8
	Safety Hazards
	
	
	
	

	9
	Lubrication
	
	
	
	

	10
	Seal Lubrication
	
	
	
	

	11
	Shafting, Universal
	
	
	
	

	12
	Clutch
	
	
	
	

	13
	Gear Drives
	
	
	
	

	14
	Painting
	
	
	
	

	Remarks:




Legend:

(A) Inspected and found acceptable
(B) Inspected, found defective but corrected

(C) Inspected, found defective and not corrected
(D) Not inspected

	Inspection Result
	Passed Installation and Start-up checkout. Equipment certified ready for service
	
	Failed – Contractor to schedule equipment re-inspection
	


	
	
	

	Contractor
	
	Supplier

	
	
	

	Date
	
	Date

	
	
	

	Consultant
	
	Region/Operator

	
	
	

	Date
	
	Date


	Regional Municipality of Halton
Consultants Procedure Manual - Facilities 
	164
	Version 1.0

November 2011


	Regional Municipality of Halton
Consultants Procedure Manual - Facilities 
	165
	Version 1.0

November 2011



[image: image1.jpg][image: image2.jpg]