	[image: image2.jpg]«AHalton




	Appendix 27
Instrumentation Installation Checklist


	[image: image1.jpg]F Region o Peel
Working for qou




	Error! Reference source not found.



	Project Name:
	Project Number:
	

	Contractor:
	Date:
	


	EQUIPMENT:
	DATE INSTALLATION COMPLETE:

	MAKE:
	MODEL #:
	SERIAL #:

	PRE-START-UP
	CHECKED BY
	DATE
	REMARKS

	Installation/Mounting Sensor/Transmitter
	
	
	

	Wiring/Conduit Termination and Seals
	
	
	

	Check Fuse Ratings (Supply and Internal)
	
	
	

	Tagging/Nameplate
	
	
	

	Compliance Section 16
	
	
	

	Test (Ground Loop, Continuity, Installation)
	
	
	

	Power Supply
	
	
	

	Check Instrument Air/Adjust Filter/Regulator
	
	
	

	Check Temp. Control (Internal/Heat Tracing)
	
	
	

	Configure Calibration
	
	
	

	Tailback lights
	
	
	

	START-UP
Verify Operation Under Max Process 

Conditions
	
	
	

	Correct Quantities of Expandable Material
	
	
	

	* Indicates (N/A) if not applicable
	
	
	

	Comments:




	Inspection Result
	Passed Installation and Start-up checkout. Equipment certified ready for service
	
	Failed – Contractor to schedule equipment re-inspection
	

	
	
	

	Contractor
	
	Supplier

	
	
	

	Date
	
	Date

	
	
	

	Consultant
	
	Region/Operator

	
	
	

	Date
	
	Date


	Regional Municipality of Halton
Consultants Procedure Manual - Facilities 
	173
	Version 1.0

November 2011


	[image: image1.jpg]
	18
	April 2003



[image: image2.jpg][image: image3.wmf] 

